## Slide 1
Tarendra Lakhankar, Jonathan Muñoz, Peter Romanov, Reza Khanbilvardi, Bill Rossow, Nir Krakauer , Al Powell, Jose Infante

## Slide 2: Overview
Introduction
Study Area and Instrumentations
Research Objectives
Current Results and Analysis
  Microwave Emission Modeling
  Observations and Validations
Planned Instrumentations
Future Activities

## Slide 3: Introduction
Snow is an important factor for:
    Transportation
    Hydro-power generation
    Agriculture
    Wildlife
    Recreation
NOAA needs information on snow to:
    Predict weather
    Monitor climate change
    Make hydrological forecasts
    Issue flood warnings
Seasonal Reservoir
Man-made Reservoir
NOAA IMS Product
March 13, 2011

## Slide 4: Microwave: The way to look inside the snow pack
What Information on Snow Is Needed ?
Upwelling microwave radiation is emitted by the sub-snow surface and altered by the snow pack.
Therefore it carries information on the physical properties of the snow pack.
Spectral range 10-100 GHz is most efficient for snow remote sensing
Sensor responses to snowpack properties

## Slide 5: Microwave snow products
AMSR-E Aqua
Snow water equivalent
Daily, 25 km resolution
Snow depth and SWE have been derived since mid-1970s
Microwave snow algorithms
  - Assume fixed snow pack properties (e.g. grain size)
  - Use simplified models of Microwave Radiative transfer in snow pack
As a result:
  Retrieval errors are large (about 100% and more)

## Slide 6: Study Area and Objective

## Slide 7: CREST-SAFE Field Research Station at Caribou, ME
Established in 2010 in Caribou, ME
  Located on the premises of NWS Regional Forecast Office at Caribou Regional Airport
Climate
  Humid continental climate.
  Normal seasonal snowfall for Caribou is approximately 116 inches (2.9 m).
  Record snowfall is 197.8 inches (5.02 m) set in the winter of 2007-2008.

## Slide 8: CREST-SAFE: Instruments
Microwave radiometers, 37 and 89 GHz
Snow/Rain precipitation gauge
Snow pillow (SWE)
Soil moisture sensors
Snow depth ultrasonic sensor
Air temperature and humidity sensor
Wind speed and direction
Incoming solar and reflected radiation
Web camera 1
Snow pack temperature profiler
Infrared surface temperature sensor
All instruments operate automatically. Data are transmitted to CREST Center for analysis in real time
Antenna

## Slide 9: Microwave Radiometers
Frequency, GHz | Polarization
37 | V, H
89 | V,H
Frequency (GHz) | Polarization | Spatial Resolution (Km)
19 | V, H | 25
22 | V | 25
37 | V, H | 25
87 | V, H | 12.5
CREST Radiometers
Special Sensor Microwave Imager (SSMI)
CREST radiometers provide observations at the same frequencies as Special Sensor Microwave Imager (SSMI) and Advanced Microwave Scanning Radiometer for EOS (AMSR-E) .
Frequency (GHz) | Polarization | Spatial Resolution (Km)
6.92 | V.H | 59
10.95 | V.H | 40
18.7 | V.H | 21.5
23.8 | V.H | 25
36.7 | V.H | 11
89 | V.H | 5
Advanced Microwave Scanning Radiometer (AMSR-E)
Notes: Hello Everyone.
In this presentation, I will talk about our current Snow field experiment, instrumentations and show you some preliminary results. Here I would like to thank all my colleagues at NOAA-CREST Center Dr. Temimi, Marco Tedesco, and Bill Rossow for their support and advices.
The picture on the first page was taken on site exactly one year during installation. Unfortunately, we didn’t receive any snow in that winter season.

## Slide 10: Objectives
Study seasonal changes in the snow pack (density, grain size, etc.)
Study snow microwave emission and its relation to snow properties
Test and improve models
- Simulating snow pack physical properties
- Relating snow pack properties and snow emissivity
Develop advanced satellite-based snow retrieval techniques
Test new instrumentation for snow research

## Slide 11: CREST-SAFE Observations and Analysis

## Slide 12: CREST-SAFE: Observations
Snow pack and soil temperature profiler
- Measures temperature at 16 levels
- Down to 10 cm in soil
- Up to 1.0 m in the snow pack
Observed snow depth and snow temperature profiles in January to March 2011
Red color indicates 00C temperature

## Slide 13: Early Winter Measurements
Snow accumulates during snowfall events due to below freezing temperature without snow melts.
The diurnal variation of brightness temperature during this period was expected to be smaller due to slow snow metamorphism compared to mid and late winter period.
Lakhankar, T., Muñoz, J., Romanov, P., Powell, A. M., Krakauer, N. Y., Rossow, W. B., and R. M. Khanbilvardi (2013) CREST-Snow Field Experiment: analysis of snowpack properties using multi-frequency microwave remote sensing data, Hydrology Earth System Science (HESS), 17, 783-793, doi:10.5194/hess-17-783-2013.

## Slide 14: Mid Winter Measurements
Similar snow depth and snow pack temperatures, but different microwave brightness temperatures
Other snow pack properties (snow density, grain size, ice layers) are different
Fresh snow
Refrozen snow
Snow melt

## Slide 15: Late Winter-Early Spring Measurements
Due warm day and cold night, we observed cycle of melting and refreezing, that causes large variation in brightness temperature during this period.
During melting and refreezing, the trends in 37 and 89 GHz of brightness temperatures were consistent with snowpack temperature

## Slide 16: Modeling Comparison and validation

## Slide 17: Snow Models
Units | Variable
°C | Snow temperature
m | Layer thickness
g/cm3 | Snow density
mm | Snow grain diameter
% | Snow moisture, volumetric
ppm | Snow salinity
Unit | Variable | Source
°K | Air Temperature | NOHRSC, NCDC, NLDAS
m/s | Wind Speed | NCDC
m/s | Precipitation Water Eq. | NOHRSC, NCDC, NLDAS
1=Rain, 2=Snow | Precipitation Type | NOHRSC, NCDC
m | Precipitation Diameter | NCDC
W/m2 | Incoming Solar | NOHRSC, NCDC, NLDAS
Fraction | Reflected solar | NOHRSC, NCDC, NLDAS
W/m2 | Down welling Long Wave | NOHRSC, NCDC, NLDAS
% | Low Cloud Cover | NOHRSC, NLDAS
 | Cloud Type | NOHRSC, NCDC, NLDAS
 | Mid Cloud Cover | NOHRSC, NCDC, NLDAS
 | High Cloud Cover | NOHRSC, NCDC, NLDAS
The Snow Thermal Model (SNTHERM) is a 1-dimensional model that analyzes the snowpack properties given the climatological conditions of a particular area
The HUT snow emission model is a semi-empirical model based on the radiative transfer theory. The model describes the snowpack as a homogenous layer, using effective values for parameters influencing scatter such as snow depth, density and grain size

## Slide 18: Modeling Approach
HUT Snow Model (or Improved CRTM)
NWSO
(Met. Observations)
SNTHERM Model
Brightness Temperature #1
Snow temperature
Snow Grain size
Snow Density
Liquid Water Content
Observed Data
(Snow Pit)
Data
Acquisition
Modeling
Analysis
Main Steps
Secondary Steps
Snow temperature
Snow Grain size
Snow Density
Liquid Water Content
Brightness Temperature #2
Statistical analysis & Errors Identification
Early
Mid
Late

## Slide 19: Snow Density and Grain Size
Comparison of observed (snow pit) grain size and density with modeled data at varying snow depth.

## Slide 20: Modeling Studies
Sensor Level (cm) | Correlation Coefficient ( R ) | Mean Absolute Difference 0C
T(-10) | 0.813 | 0.695
T(-5) | 0.834 | 0.541
T(0) | 0.847 | 0.744
T(+2) | 0.850 | 1.091
T(+4) | 0.905 | 1.161
T(+6) | 0.910 | 2.050
T(+8) | 0.803 | 1.895
T(+10) | 0.759 | 3.383
T(+12) | 0.733 | 2.636
T(+15) | 0.507 | 2.335
T(+18) | 0.877 | 2.784
T(+21) | 0.881 | 3.595
Comparison of observed temperature with modeled temperature of snowpack at varying snow depth.
SNTHERM model
Input: Meteorological parameters
Output: Physical properties of snow
Output of this model can be used to predict snow microwave emission

## Slide 21: Microwave Response (Classification Analysis)
Identify different snow class based on microwave observations
Identify real contribution of different snowpack characteristic to the microwave emission (Grain Size, Wetness and Temperature).
Define the possible sources of error in the modeling.

## Slide 22: CREST-SAFE vs. HUT Model
Simulation for winter 2011
The HUT model considers the snowpack as a homogenous layer, and uses effective values for parameters affecting the scatter of microwave radiation in the snowpack, including snow depth, density and grain size.

## Slide 23: Snow Wetness and Snow Water Equivalent
Snow Water Equivalent
(Water yield from volume of snow)
Snow Wetness

## Slide 24: Snow Wetness
Microwave emission models are highly sensitive to the Snow Wetness.
Lack of existing methods, to measure snow wetness in a simple, cheaply and continuously way.
Actual microwave retrievals typically exhibit low accuracy and larger errors at the end of the winter season.
Sensitivity Analysis
Chart: In-Situ [Tb]
Chart: In-Situ [Tb]
Dry Snow
Wet Snow

## Slide 25: Snowpack temperature and brightness temperature
CREST-SAFE vs. HUT Model
Correlation between SPT and Bt
Chart: Bt [K]
Chart: Bt [K]
Chart: Bt [K]
Chart: Bt [K]
The estimation of snow wetness is a difficult task even at ground level, so it is crucial to further investigate the contribution that remote sensing techniques can make in that regard, alone or coupled with a snow physical models.

## Slide 26: Future Plans

## Slide 27: Future Plans - Instrumentations
Dual polarized 10.65 GHz and 19 GHz Microwave radiometers
CIMEL Sun-photometer
  A multichannel automated ground and sky-scanning radiometer manufactured by CIMEL Electronique, takes measurements of direct sun, sky-scattered and surface-reflected radiation at pre-determined (0.6 – 1.2 µm) wavelengths in the VIS/IR band.
Snow Wetness Profiler
    To measure snow wetness using proxy measurement of conductivity in snowpack. (larger snow grains are more conductive)
$270K is approved and will be funded through Defense University Research Instrumentation Program (DURIP) of The Department of Defense (DoD).
CS650 - Measures dielectric permittivity, and bulk electrical conductivity.

## Slide 28: Future Plans - Activities
Mobile Temperature Profiler
Measurements with the surface-based radiometers on a sledge to characterize the spatial variability.
Data Logger

## Slide 29: Applications – Watershed Modeling

## Slide 30: Applications – Improvement of Snow Emission Model
Satellite Data (Microwaves)
HUT Snow Model (or Improved CRTM)
Brightness Temperature
Gridded Snowpack (Daily)
NCDC
(Met. Observations)
SNTHERM Model
Snowpack (High Resolution)
Krigging (Gridded Maps)
Snow temperature
Snow Grain size Snow Density
Satellite Data (Visible/Infrared/MW)
Snow Wetness
Observed Data
(Snow Pit)
Snow Temperature
Grain Size
Snow Wetness Index
Avalanche Risk Index
Data
Acquisition
Modeling
Application
Cross Validation with CREST-SAFE DATA
Main Steps
Secondary Steps
Snow Temperature
Grain Size
Future Work

## Slide 31: Acknowledgements
Center for Satellite Applications and Research (STAR)
Dr. Alfred M. Powell
NWS WFO Caribou ME
Dr. Peter Rahe Dr. William Desjardins
Other staff members
City College of New York (CCNY)
Dr. Marouane Temimi Eugene Leykin
University of Maine at Presque Isle Philip Boody
Prof. David Putnam Prof. Chunzeng Wang